CMOP Undergraduate Intern Mentoring Opportunity

Deadline:  March 26, 2010
Selections Announced:  April 2, 2010

Name/Title/Institution(s) of senior mentor(s): Holly Simon, OHSU/CMOP

Name/Title/Institution(s) of frontline mentor(s): Mariya Smit, OHSU/CMOP

Project Title:

Assay development for SLA sensor array format for rapid detection of microorganisms in environmental water samples:

A major goal of CMOP is to characterize microbial activity with respect to changes in physical and chemical properties along coastal margins. The proposed summer intern project will be a part of our ongoing research on development of a technology for rapid and inexpensive on-board detection of microbial sentinel species in environmental water samples.

Brief Description:

During Years 3-4 we have done the initial testing of a biosensor platform: the electronic semiconductor impedance-based sensor array created by the SHARP Laboratories of America (SLA). Each array is composed of eight gold interdigitated microelectrodes enclosed in a plastic, double microfluidic chamber. Detection is done by impedance spectroscopy, for fast and label-free measurements in real time. The technology for inexpensive, mass industrial production of this sensor format has recently been developed by SLA. To detect individual microorganisms of interest, we prepared DNA from laboratory-grown cultures of Escherichia coli in addition to a simulated environmental sample containing multiple bacterial and archaeal species. PCR amplification was performed to generate DNA targets ranging from 300 to 800 nucleotides in length. The sensor array surface was functionalized with DNA oligonucleotide probes complementary to the targets of interest. Target-probe hybridization on the sensor surface was detected in real time (5-10 min) by changes in sensor impedance, providing kinetic measurements for accurate target quantification. The initial proof-of-feasibility tests achieved detection limits of 5-10 nM of PCR-amplified single-stranded DNA targets with hybridization selectivity of 9- to 12-fold signal increases for specific targets.

At present SLA has developed a next generation format consisting of a new biosensor with 18 microelectrodes (instead of 8), and real-time reader with capacity to perform measurements at millisecond intervals. This format needs to be tested for DNA target:probe hybridization. We also need to perform calibration of the SLA sensor array response to DNA-DNA hybridization by using quantitative PCR experiments to determine corresponding gene copy numbers. We plan to use various blocking agents to further increase sensor selectivity towards targets of interest. Another important goal is to develop target preparation protocols for microbes of interest, starting from DNA isolation, PCR amplification of targets, and all the way to the SLA sensor response calibration.

Proposed Outcomes/Broader Impact:

This project, developed for a CMOP undergraduate summer intern, will expand our collaboration with Sharp Labs of America. The intern will learn state-of-the-art molecular biological techniques by performing nucleic acid isolation, purification, PCR, nucleic acid hybridizations, and biosensor data acquisition and analysis. Results from this project will contribute to our overall goals in CMOP, which are to understand biological changes with respect to chemical and physical parameters along the Columbia River coastal margin, and to educate undergraduate students about science and the environment using hands-on research.

The final report will summarize the results of DNA isolations and target-probe hybridizations. An additional effort will be necessary to complete and organize the laboratory notebook. The final report will also include some analysis of biosensor performance for the new platform developed by SLA. The report will be shared with the SLA researchers.

Proposed timeline (within a 10 week span):

From mid-June until the end of August.

Intern academic experience and skill set should include:

Basic laboratory skills will be developed during the project, with the special emphasis on nucleic acid handling and quality control. To develop and apply these skills within the framework of a 10-week summer internship, the student should possess a strong background in biology and chemistry: biology, chemistry, microbiology major, junior or senior level.