## Sheet1
Oregon Health & Science University | [10 empty] | Page ___ of ___
20000 NW Walker Rd. Beaverton, OR 97006 |  |  |  |  | FILTERING LOG SHEET
Date:________________ |  | Filterers:________________, ___________________, ________________, ________________
Station Name | Time Filtered (PST) | Dissolved Nutrients | TDN/TDP | POC/PN Volume | TN/TP | Flow Cytometry | FISH | Light Microscopy | Fluorescent Microscopy | CHL-A Volumes | DNA | RNA
Notes:
Cheat Sheet
How to Label Bottles
1. Date
2. Station Name
3. Depth
4. Analysis
Parameter | Bottle Type |  | Storage |  | Processing Guide
Dissolved Nutrients | 30 ml Plastic Nalgene (Acid Washed) |  | Dry Ice |  | Filter through combusted 0.7 µM GFF
TDN/TDP | 20 ml Plastic Vial (Acid Washed) |  | Dry Ice |  | Filter through combusted 0.7 µM GFF
TN/TP | 20 ml Plastic Vial (Acid Washed) |  | Dry Ice |  | Fill Vial with Raw water
POC/PN | Combusted 0.7 µM GFF Filter |  | Dry Ice |  | Filter a KNOWN volume through combusted 0.7 µM GFF and NOTE the volume filtered on log sheet
Flow Cytometry | 5 ml Vial (OK for Liquid Nitrogen) |  | Liquid Nitrogen |  | Fill vial with 2 ml of raw water and add 100 µl of PFA
FISH | 50 ml Plastic Vial (Acid Washed) |  | Wet Ice |  | Fill vial with 38 ml of raw water and add 2 ml of PFA
Light Microscopy | 100 ml French Square (glass) |  | Room Temperature |  | Fill bottle with raw water and add 1.0 ml of Lugol's
Fluorecent Microscopy | 50 ml Plastic Vial (Acid Washed) |  | Wet Ice |  | Fill bottle with raw water and add 0.50 ml of Glutaraldehyde
DNA | Sterivex Filter |  | Dry Ice |  | Filter water through sterivex until clogged add 2.0 ml RNAlater by filtering into sterivex from syringe
RNA | Sterivex Filter |  | Liquid Nitrogen |  | Filter water through sterivex until clogged add 2.0 ml RNAlater by filtering into sterivex from syringe
CHL-a | Non-combusted 0.7 µM GFF Filter |  | Dry Ice |  | Filter a KNOWN volume through non-combusted 0.7 µM GFF and NOTE the volume filtered on log sheet

## Sheet2
Oregon Health & Science University | [8 empty] | Page ___ of ___
20000 NW Walker Rd. Beaverton, OR 97006 |  |  |  | SAMPLING LOG SHEET
Date:________________ |  | Samplers:________________, ___________________, ________________, ________________
Research Vessel:____________________ |  |  | CTD S/N: _________________________ |  |  |  | Depart___________ PST
Return___________ PST
Station Name | CTD Cast Time (PST) | Latitude | Longitude | Tidal Stage | CTD CAST Y/N | Sample Collection | Sample Collection Time (PST) | Notes
|  |  |  | Fld/Ebb/ High/Low | Y/N | Y/N
|  |  |  | Fld/Ebb/ High/Low | Y/N | Y/N
|  |  |  | Fld/Ebb/ High/Low | Y/N | Y/N
|  |  |  | Fld/Ebb/ High/Low | Y/N | Y/N
|  |  |  | Fld/Ebb/ High/Low | Y/N | Y/N
|  |  |  | Fld/Ebb/ High/Low | Y/N | Y/N
|  |  |  | Fld/Ebb/ High/Low | Y/N | Y/N
|  |  |  | Fld/Ebb/ High/Low | Y/N | Y/N
|  |  |  | Fld/Ebb/ High/Low | Y/N | Y/N
|  |  |  | Fld/Ebb/ High/Low | Y/N | Y/N
|  |  |  | Fld/Ebb/ High/Low | Y/N | Y/N
|  |  |  | Fld/Ebb/ High/Low | Y/N | Y/N